| Floodlight | Lumen | Light coverage |
| --- | --- | --- |
| 4x160 MultiLED | 81400 | 2400 mq |
| 4x75W MultiLED | 36900 | 1500 mq |

| Performance data |  |
| --- | --- |
| Rated frequency | 50Hz |
| Rated voltage | 230 VAC |
| Rated Power | 5.4 kW |
| Operating temp | -30/+50°C |
| Sound level @7m | 70 dB |
| Engine |  |
| Model | Italtower 14 HP |
| Speed | 3000 rpm |
| Coolant | Air |
| Cylinders | 1 |
| Emissions | Stage V |
| Alternator |  |
| Type | Self-excited |
| Rated output | 6 kVA |
| Regulation | With brushes |
| Voltage accurancy | AVR |
| Consumption |  |
| Tank | 25 l |
| Fuel | Gasoline |
| Autonomy | 218 h |
| Fuel consumption | 1.8 l/h @ 75% |
| Electric manual panel | 1x230V schuko + 1x230V ECC 32A 3P socket and 12VDC socket |
| Galvanized Mast |  |
| Lifting system | Manual with winch |
| Rotation | 350 ° |
| Max height | 5,5 m |
| Max speed wind | 80 Km/h |
| Canopy and trailer |  |
| Trailer | Hand trolley |
| Basement | Steel base frame, epoxy powder painted |
| Stabilizers | 2 |
| Canopy | Powder coating paint |
| Optional included as standard | Thermal switch and multmeter (V, Hz). Hour counter |
| Shipment |  |
| Dimension | 84x119x211 cm |
| Weight | 249 Kg |